## Sheet1
新风机物模型（事件、属性、服务）
类别 | 名称 | 描述 | 数据类型 | 读写权限 | 示例
属性 | powerStatus | 新风机电源状态 | 布尔值 | 读/写 | true（开启）
属性 | airQuality | 室内空气质量指数（AQI） | 数值（AQI值） | 只读 | 50
属性 | fanSpeed | 风速等级（低、中、高） | 枚举 | 读/写 | "中"
属性 | filterUsage | 滤网使用时间百分比 | 数值（百分比） | 只读 | 70%
事件 | filterReplacement | 滤网需要更换的警告 | 布尔值 | 只读 | true（需要更换）
事件 | highAirPollution | 检测到室内空气污染指数过高 | 布尔值 | 只读 | true（污染超标）
服务 | turnOn | 打开新风机 | 无 | 可调用
服务 | turnOff | 关闭新风机 | 无 | 可调用
服务 | setFanSpeed | 设定风速等级（低、中、高） | 枚举 | 可调用 | "高"
服务 | resetFilterUsage | 重置滤网使用时间 | 无 | 可调用
服务 | setTimer | 设置新风机自动关闭的定时器（分钟） | 数值（分钟） | 可调用 | 60

## Sheet2
消息类型 | 主题 | 数据字段（JSON格式） | 描述
设备数据 | airpurifier/{deviceId}/data | json { "deviceId": "device123", "timestamp": "2024-09-12T12:00:00Z", "temperature": 22, "humidity": 60, "filterStatus": "OK", "fanSpeed": 3, "airQuality": "Good" } | 记录设备的传感器数据和状态
控制命令 | airpurifier/{deviceId}/command | json { "deviceId": "device123", "timestamp": "2024-09-12T12:00:00Z", "command": "setSpeed", "value": 3 } | 发送控制命令到设备
遗嘱消息（LWT） | airpurifier/{deviceId}/status | json { "deviceId": "device123", "timestamp": "2024-09-12T12:00:00Z", "status": "offline", "lastUpdate": "2024-09-12T12:00:00Z" } | 设备断开连接时发送的状态信息